Filter Configurations				RHF		3/3/98

=====================

The following tables specify the *necessary* parameter values required to

configure the DAS to a particular filter configuration.  Where filter choice

automatically constrains output and other options, these are specified too.  A

list of parameters likely to be relevant to each filter type is included with

each parameter set.

64MHz/Unfiltered Sampler Output: Group S0

*****************************************

S0 Group

--------

Filter	<70>#	<76>#

''''''	''''	''''

S0*64	 2		 5

# Applies only if S0 output is required at this port.

Also check <30>, <31> & <75>.

Band Splitter Filters: Groups B1, B1S, B2, B4 & B6

**************************************************

NB.  For all filters leave	<9>  = 0

<14> = 1

<19> = 0

<21> = 0

<23> = 0

<26> = 0

<28> = 0

B1 Group

--------

Filter	<3>		<5>		<6>		<7>		<8>		<15>	<17>	<70>#	<76>#

''''''	'''		'''		'''		'''		'''		'''		''''	''''	''''

B1*32	1		31		31		1		1		0		0		1		4

B1*16	1		31		31		2		2		0		0		0		0,1

B1*8	1		31		31		3		3		0		0		0		0,1

B1*4	1		31		31		4		4		0		0		0		0,1

B1*2	1		31		31		5		5		0		0		0		0,1

B1*1	1		31		31		6		6		0		0		0		0,1

# Applies only if B1 output is required at this port.

Also check <11>, <12>, <31>, <71>..<74>, <75> & <79>.

N.b. <71>..<74> only affect data when <70> = 0.

<79> only applies when <76> = 0..3.

B1S Group

--------

Filter	<3>		<5>		<6>		<7>		<8>		<15>	<17>	<70>#	<76>#

''''''	'''		'''		'''		'''		'''		''''	''''	''''	''''

B1*32S	1		31		31		1		1		0		0		1		4

B1*16S	1		31		31		7		7		0		0		0		0,1

B1*8S	1		31		31		8		8		0		0		0		0,1

B1*4S	1		31		31		9		9		0		0		0		0,1

B1*2S	1		31		31		10		10		0		0		0		0,1

B1*1S	1		31		31		11		11		0		0		0		0,1

# Applies only if B1S output is required at this port.

Also check <11>, <12>, <31>, <71>..<74>, <75> & <79>.

N.b. <71>..<74> only affect data when <70> = 0.

<79> only applies when <76> = 0..3.

B2 Group

--------

Filter	<3>		<5>		<6>		<7>		<8>		<15>	<17>	<70>#	<76>#

''''''	'''		'''		'''		'''		'''		''''	''''	''''	''''

B2*16	1		31		31		12		22		1		0,1		0		0,1

B2*8	1		31		31		13		23		1		0,1		0		0,1

B2*4	1		31		31		14		24		1		0,1		0		0,1

B2*2	1		31		31		15		25		1		0,1		0		0,1

B2*1	1		31		31		16		26		1		0,1		0		0,1

# Applies only if B2 output is required at this port.

Also check <11>, <12>, <16>, <18>, <31>, <71>..<74>, <75> & <79>.

B4 Group

--------

Filter	<3>		<5>		<6>		<7>		<8>		<15>	<17>	<70>#	<76>#

''''''	'''		'''		'''		'''		'''		''''   	''''	''''	''''

B4*8	1		31		31		17		27		1		0,1		0		0,1

# Applies only if B4 output is required at this port.

Also check <11>, <12>, <16>, <18>, <31>, <71>..<74>, <75> & <79>.

B6 Group

--------

Filter	<3>		<5>		<6>		<7>		<8>		<15>	<17>	<70>#	<76>#

''''''	'''		'''		'''		'''		'''		''''	''''	''''	''''

B6*8	0		32		32		17		27		1		0,1		0		0,1

# Applies only if B6 output is required at this port.

Also check <11>, <12>, <16>, <18>, <31>, <71>..<74>, <75> & <79>.

Fine Tuner Filters: Groups F0, F1, F1S & F2

*******************************************

The input to the Fine Tuner is one of the Band Splitter's filtered outputs.

The availability of FT filters and their configuration parameters therefore

depend on the bandwidth ("B") of that BS filter.  Proceed by setting Common

Features, then  find the desired FT filter in the appropriate B column in the

relevant Group, and set the adjacent parameter values.

NB.  For all filters leave	<48> = 0

<51> = 0

<59> = 0

<61> = 0

<63> = 0

Optimal Configurations

----------------------

In the following tables for F1, F1S and F2 Group filters a given final

bandwidth may be achievable from more than one Band Splitter bandwidth,

B, so a preferred configuration has been marked "#" for each case.

These have been selected as being optimal in terms of their frequency

response and resistance to interference.

Common Features

---------------

Use 'B' in the Group tables below.

Set	<40> (decimation) as tabulated

<41> (LO frequency) as tabulated

Source (Band Splitter Filter)		  B(MHz)	<40>	<41>

'''''''''''''''''''''''''''''		  ''''''	''''	''''

B1*16, B1*16S, B2*16.X, B2*16.Y			16		  1		0-16.0E6

B1*8,  B1*8S,  B2*8.X,  B2*8.Y			 8		  2		0-8.0E6

B4*8.X B4*8.Y  B6*8.X	B6*8.Y			 8		  2		0-8.0E6

B1*4,  B1*4S,  B2*4.X,  B2*4.Y			 4		  4		0-4.0E6

B1*2,  B1*2S,  B2*2.X,  B2*2.Y			 2		  8		0-2.0E6

B1*1,  B1*1S,  B2*1.X,  B2*1.Y			 1		 16		0-1.0E6

Also check <42>..<47>.

Usually <43> = 0 & <45> = 1.

If non-zero, <42> has the same range as <41>.

F0 Group        (See also "Common Features" above)

--------

Set	<41> = 0

<43> = 0

<46> = 0

<47> = 0

B=16	B=8		B=4			B=2			B=1		   <49>	   <50>	   <55>	   <57>

'''''	''''	''''		''''		''''	   ''''	   ''''	   ''''	   ''''

F0*16	F0*8	F0*4		F0*2		F0*1		21		21		 1		0,1

Also check <31>, <53>, <54>..<56>, <58>, <68>, <70>..<74>, <75>..<79>.

F1 Group        (See also "Common Features" above)

--------

B=16	B=8		B=4			B=2			B=1		   <49>	   <50>	   <55>	   <57>

'''''	''''	''''		''''		''''	   ''''	   ''''	   ''''	   ''''

F1*16#	F1*8	F1*4		F1*2		F1*1		 2		 2		 0		 0

F1*8#	F1*4	F1*2		F1*1		F1*0.5		 3		 3		 0		 0

F1*4#	F1*2	F1*1		F1*0.5		F1*0.25		 4		 4		 0		 0

F1*2#	F1*1#	F1*0.5#		F1*0.25#	F1*0.125#	 5		 5		 0		 0

F1*1	F1*0.5	F1*0.25		F1*0.125	F1*0.0625#	 6		 6		 0		 0

Also check <31>, <53>, <54>, <68>, <70>..<74>, <75>..<79>.

F1S Group       (See also "Common Features" above)

--------

B=16	B=8		B=4			B=2			B=1		   <49>	   <50>	   <55>	   <57>

'''''	''''	''''		''''		''''	   ''''	   ''''	   ''''	   ''''

F1*16S#	F1*8S	F1*4S		F1*2S		F1*1S		 7		 7		 0		 0

F1*8S#	F1*4S	F1*2S		F1*1S		F1*0.5S		 8		 8		 0		 0

F1*4S#	F1*2S	F1*1S		F1*0.5S		F1*0.25S	 9		 9		 0		 0

F1*2S#	F1*1S#	F1*0.5S#	F1*0.25S#	F1*0.125S#	 10		 10		 0		 0

F1*1S	F1*0.5S	F1*0.25S	F1*0.125S	F1*0.0625S#	 11		 11		 0		 0

Also check <31>, <53>, <54>, <68>, <70>..<74>, <75>..<79>.

F2 Group        (See also "Common Features" above)

--------

B=16	B=8		B=4			B=2			B=1		   <49>	   <50>	   <55>	   <57>

'''''	''''	''''		''''		''''	   ''''	   ''''	   ''''	   ''''

F2*8#	F2*4	F2*2		F2*1		F2*0.5		13		23		 1		0,1

F2*4#	F2*2	F2*1		F2*0.5		F2*0.25		14		24		 1		0,1

F2*2#	F2*1	F2*0.5		F2*0.25		F2*0.125	15		25		 1		0,1

F2*1#	F2*0.5#	F2*0.25#	F2*0.125#	F2*0.0625#	16		26		 1		0,1

Also check <31>, <53>, <54>, <56>, <58>, <68>, <70>..<74>, <75>..<79>.

CW Filters

**********

The B and F Group filter specifications above select coefficient sets scaled

to give constant output with flat spectrum noise inputs, the usual condition

for radio astronomy.  If the DAS is used to acquire narrow band, ie.

predominantly coherent, signals, the set of unity gain filters should be used

instead to avoid overload, by substituting the regular filter numbers in <7>,

<8>, <49> and <50> as follows:

Normal: 1   2   3   4   5   6   12  13  14  15  16  17  22  23  24  25  26  27

CW:     33  34  35  36  37  38  39  40  41  42  43  44  45  46  47  48  49  50

There are no substitutes for #7..11; use #34..38 instead.

__________________________________________

file Fltrcfgs.doc; printed 30-Jul-26